## Sheet1
Criteria
Solutions | Simulator Down Time (5) | Simulation Improvements (3) | Installation (2) | Fitness Score
Gate Solutions |  |  |  |  | Desirability
Replace Gate | Low - will halt progress for simulation during replacement 5 x 1 = 5 | High - gate runs smoothly during simulation 3 x 3 = 9 | Low - involves installation of a new gate. 2 x 1 = 2 | 16 | High = 3 Moderate = 2 Low = 1
Debug Gate | High - gate control can be modified and tested without effect on simulation 5 x 3 = 15 | High - gate runs smoothly during simulation 3 x 3 = 9 | High - utilizes existing system. No installation necessary 2 x 3 = 6 | 30
Position Solutions
Replace Stepper Motor | Low - positioning system would be completely offline preventing simulation until installation. 5 x 1 = 5 | Moderate - positioning of the system is more accurate when calibrating the system. 3 x 2 = 6 | Low - involves installation of a new steppor motor with similar rotations per minute. 2 x 1 = 2 | 13
Debug Motor And Add Mode to Calibrate Positioning | High - debugging, calibration, and testing can be done while being minimally invasive to simulations. 5 x 3 = 15 | High - provides dynamic callibration of the prexisting system with higher accuracy 3 x 3 = 9 | High - no installation neccesary 2 x 3 = 6 | 30
Temperature Solutions
Install Thermocouple | High - Simulations will be able to be run during installation process, due to complexity of the mechanism. 5 x 3 = 15 | Moderate - Data can be collected for the lower furnace 3 x 2 = 6 | Moderate - Mechanism may be difficult to install without interfering with the sample's movement 2 x 2 = 4 | 25
Install Third Infrared Sensor | High - Simulations will be able to be run during installation process. Sensor is minimally invasive. 5 x 3 = 15 | High - Data can be collected with a higher precision. 3 x 3 = 9 | High - Mechanism does not come in contact with the strip, and can measure temperature from a distance. It will be the simplest to install. 2 x 3 = 6 | 30